..........................COMPRESSOR MAINTENANCE CARD

| DATE | MAINTENACE HOUR | WHAT TO DO | NEXT MAINTENANCE HOUR | RESPONSIBLE |
| --- | --- | --- | --- | --- |

| WEEKLY MAINTENANCE | ANNUAL MAINTENANCE |
| --- | --- |
| 1) Suction filters will be cleaned by pressure air | 1) Oil will be renewed |
| 2) Oil level will be checked, if required, it will be filled up (Mobil Rarus 424 |  |