ELECTRICAL PERIODIC MAINTENANCE FORM

WEEKLY

- Noted electrical problems during all the days of week should be maintained.

- Outer and inside of all electrical panels should be clean by air

- Electrical motors should be checked and cleaned by air

- Safety switches should be checked

MONTLY

- Contactors of all electrical panels should be clean with special spray cleaner

- Barings of the motor should be changed whatever bearing life came over

- Cover of fan motors should be opened and dust should be cleaned from its propeller (those dust harms fan balance na so bearing life is shortened)

ANNUALLY

- Noted electrical problems during all years and designed modifications should be maintained